**SAFETY DATA SHEET**

**Section 1 –Identification**

Product: Ostomy Ring

Product Use: Moldable Ostomy adhesives used as gasket or seal with an ostomy appliance.

Product ID: SNS684H2

CAS Number: Mixture

SDS Date: 07/28/2019, SDS Revision Date: 12-26-2019

Manufacturer: Safe n Simple

Address: 5827 Terex

City: Clarkston

State: MI

ZIP: 48346

Country: US

Phone Number: Toll Free 844-767-6334

**Section 2 - Hazards Identification**

Inhalation: NO Skin: NO (may cause slight irritation on sensitized skin) Ingestion: NO

Reports of Carcinogenicity: NTP:NO IARC:NO OSHA:NO

Health Hazards Acute and Chronic: NO ADVERSE REACTIONS ARE KNOWN TO EXIST FROM THE USE OF THIS PRODUCT FOR ITS INTENDED PURPOSE.

Explanation of Carcinogenicity: NONE

Effects of Overexposure: NO ADVERSE REACTIONS ARE KNOWN TO EXIST FROM THE USE OF THIS PRODUCT FOR ITS INTENDED PURPOSE.

This substance is not classified as dangerous according to Directive 67/548/EEC as amended and adapted.

**Section 3 - Composition/Information on Ingredients**

Ingred Name: SILICONE RELEASE PAPER

Ingred Name: STYRENE, POLYMER WITH ISOPRENE \*95-4\*

CAS:25038-32-8

Ingred Name: POLYISOBUTYLENE

CAS: 9003-27-4

RTECS #:UD1010000

RTECS #:LX8580000

Ingred Name: CARBOXYMETHYLCELLULOSE (CELLULOSE, CARBOXYMETHYL ETHER,SODIUM

SALT)

CAS:9004-32-4

RTECS #:FJ5950000

Ingred Name: MINERAL OIL, UNSPECIFIED

Ingred Name: SYNTHETIC RESIN Staybelite Ester 10E

CAS: 96638-33-4

Ingred Name: Heterogeneous mixture of water-soluble proteins

CAS:9000-70-8

RTECS #:LX8580000

Ingred Name: BRANCHED POLYSACCHARIDE GUM

CAS:9000-01-5

Ingred Name: POLYETHYLENE

Ingred Name: PECTIN

CAS: 9000-69-5

RTECS #:RX4280000

Ingred Name: ZINC OXIDE

CAS: 1314-13-2

EC #:215-222-5

**\*\*Proprietary formula of SNS and contains no hazardous ingredients. All**

**ingredients are medical or food grade. Latex free and phthalate free.\*\***

**Section 4 - First Aid Measures**

First Aid: EYES: FLUSH W/COPIUS AMOUNTS OF WATER. SKIN: IN THE CASES OF SKIN

IRRATION, DISCONTINUE USE AND WASH AREA WITH SOAP AND WATER. IN OTHER

UNFORSEEN MEDICAL ISSUES: OBTAIN MEDICAL ATTENTION IN ALL CASES.

**Section 5 - Fire Fighting Measures**

Extinguishing Media: WATER FOG, DRY CHEMICAL/CO2

Fire Fighting Procedures: USE A SELF CONTAINED BREATHING APPARATUS.

**Section 6 – Accidental Release Measures**

Personnel Precautions: For large spills: Evacuate area and keep unnecessary

and unprotected personnel from entering the spill area. Avoid breathing

vapor, aerosol or mist. Avoid contact with skin, eyes and clothing.

Environmental Precautions: For large spills: Avoid runoff into storm sewers,

ditches, and waterways.

Methods for containment: For large spills: Contain spills with an inert

absorbent material such a s soil, sand or oil dry.

Methods for cleanup: For large spills: Remove all source s of ignition.

Collect the wipes with a non sparking tool and absorbent wipe any residual

liquids. Place in a suitable container for proper disposal. Use appropriate

protective apparel as described in Section 8. Avoid contact with skin and

eyes.

**Section 7 - Handling and Storage**

Handling and Storage Precautions: STORE AT ROOM TEMPERATURE, AVOID

REFRIGERATION & EXPOSURE TO HIGH HUMIDITY. USE FOR INTENDED PURPOSE

ONLY, NOT INTENED FOR USE ON OPEN WOUNDS.

Hygiene Practices: Wash thoroughly after handling. Avoid inhaling vapors,

mists, or fumes.

**Section 8 - Exposure Controls/Personal Protection**

Supplemental Safety and Health

THE ADHESIVE RING IS FOR ATTACHING OSTOMY APPLIANCES TO THE BOD OR ACTING AS A FOUNDATION. USE FOR INTENDED PURPOSE ONLY, NOT INTENDED FOR USE ON OPEN WOUNDS.

**Section 9 - Physical/Chemical Properties**

Appearance, Stability, and Odor:(TAN STRIP/STABILE NORMAL CONDITIONS/NO ODOR/SUPERABSORBANT)

**Section 10 - Stability and Reactivity Data**

Stability Indicator/Materials to Avoid: YES

Stability Condition to Avoid: REFRIGERATION & EXPOSURE TO HIGH HUMIDITY.

Hazardous Decomposition Products: BY THERMAL DECOMPOSITION/BURNING: CO,

CO2, NITROGEN OXIDES, HYDROGEN CYANIDE & OTHER TOXIC GASES.

**Section 11 - Toxicological Information**

sodium carboxymethylcellulose:

Skin: Administration onto the skin - Rabbit LD50 - Lethal dose, 50 percent

kill: >2 gm/kg [Details of toxic effects not reported other than lethal dose

value] (RTECS)

Inhalation: Inhalation - Rat LC50 - Lethal concentration, 50 percent kill:

>5800 m g/m 3/4H [Details of toxic effects not reported other than lethal

dose value ] (RTECS)

Ingestion: Oral - Rat LD50 - Lethal dose, 50 percent kill: 27000 m g/k g

[Details of toxic effects not reported other

than lethal dose value ] (RTECS)

**Section 12 – Ecological Information**

Ecotoxicity: No environmental information found for this product.

Environmental Fate: No environmental information found for this product.

**Section 13 - Disposal Considerations**

Waste Disposal Methods: DISPOSE OF IN ACCORDANCE W/LOCAL, STATE &

FEDERAL REGULATIONS

**Section 14 – Transport Information**

DOT Shipping Name: Not Restricted in accordance with CFR 49 Section

173.125(1)

DOT UN Number: Not Restricted in accordance with CFR 49 Section 173.125(1)

Notes: The data provided in this section is for information only. Please

apply the appropriate regulations to properly classify your shipment.

**Section 15 – Regulatory Information**

pectin:

TSCA Inventory Status: Listed

Canada DSL: Listed

sodium carboxymethylcellulose:

TSCA Inventory Status: Listed

Canada DSL: Listed

**Section 16 – Other Information**

Safe n Simple LLC. is a registered Medical Devices manufacturer

as designated by the FDA.

Disclaimer: This product is exempt from Safety Data Sheet regulations as the product is for consumer use. (provided with this information by the compiling agencies): This information contained in this SDS is offered as a guide to the handling of this specific material. The information contained in this Safety Data Sheet (SDS) is offered as a guide to the use and handling of this material. It has been prepared in good faith by technically knowledgeable

personnel and it believed to be correct as of the effective date listed. All safety aspects of all Safe n Simple’s products are thoroughly evaluated prior to commercialization Safe n Simple shall not be held liable for any damages, losses or injuries of any nature which may result from the use of or reliance upon any information contained in this SDS. Each individual should make a determination as to the suitability of the information for his or her particular purpose(s). Safe n Simple, LLC and the United States of America in no manner whatsoever, expressly or implied, warrants this information to be accurate and disclaims all liability for its use. Any person utilizing this document should seek competent professional advice to verify and assume responsibility for the suitability of this information to their particular situation.